Gas Leak – Outpatient Services

Purpose:  	It is the intent of the following policy to ensure that staff members are prepared to respond to a gas leak, should it occur.

Policy:	It is the policy of CDS to protect persons served, staff members, visitors, and property in the event of a gas leak.  Gas leak drills will be conducted at all service sites using natural gas or propane on an annual basis.

Procedures and/or Process:

- Assess the situation to determine the extent of the leak and gas discharge.

- If deemed extensive call 911 for the fire department.  If not,

- Notify CDS maintenance staff and/or a gas repair service to assess the problem

- Evacuate staff members, participants and visitors from the immediate area of the leak to a safe location and shut down all potential ignition sources (open flame, cigarettes etc.).  Seal off the area to unauthorized personnel.

- Notify the Chief Operations Officer.

- Assign staff to notify and make arrangements with their participants.

- Follow the Incident Reporting Procedures.

- Resume normal program activities when advised by the experts that the situation has been resolved.