Floor Plans

Purpose:	It is the intent of the following policy to describe the need for floor plans in each CDS facility.

Policy:	Each CDS facility shall have a Floor Plan accurately depicting the space and noting the location of emergency exits, fire extinguishers and first aid equipment.

Procedure and/or Process:

Each facility should have floor plans placed throughout the building at points of emergency exits and other key locations to assist occupants should there be a need to evacuate or access emergency equipment.

Each Floor Plan should have “You are here” stickers depicting the specific site location of the posted Floor Plan in the building.

Each Coordinator or their designee is responsible for ensuring that the Floor Plans remain accurate and in good repair.